## Specification Data - IOD Series
Model Number | Category | Product Family | Series Name | GTIN | UPC | Replaces Model | Product Title/Name (125 Character Max.) | Product Title/Name - Includes Electrical Configuration (140 Character Max.) | Written Spec | 90°/70° Production (lb) | 70°/50° Production (lb) | Storage Capacity (lb) | Ice Form | Ice Form Description | Dispensing Method | Unit Size (W" x D" x H") | Unit Size (Width: Inches) | Unit Size (Depth: Inches) | Unit Size (Height: Inches) | Dispensing Method | ADA Compliant Dispensing Area | Condenser Type | Energy Usage (kWh/100 lb.) | Potable Water (gal/100 lb) | Volts/Hz/Phase | Max. Fuse Size | Circuit Wires | Min. Circuit Ampacity | Refrigerant | BTUs Per Hour | Shipping Dimensions (W" x D" x H") | Shipping Dimensions (Width: Inches) | Shipping Dimensions (Depth: Inches) | Shipping Dimensions (Height: Inches) | Shipping Weight (lb) | Warranty | Specification Sheet URL (Auto-Updating Link: Will NOT Break) | Primary Product Image URL (Auto-Updating Link: Will NOT Break) | Product Page URL
IOD150-1 | Ice Only Dispenser | IOD150 | IOD | 00840315404946 | 840315404946 | ID150B-1 | Scotsman IOD150-1 Ice Dispenser, 22" Width - 150 lb. Storage | Scotsman IOD150-1 Ice Dispenser, 22" Width - 150 lb. Storage (115v/60hz/1ph) | Ice Dispenser, counter model, 150 lb capacity, designed for cube-type or nugget-type ice, stainless steel exterior, cup activated, 115v/60/1-ph, NSF, cULus | N/A | N/A | 150 | N/A | N/A | Push-Chute | 23" x 31" x 35" | 23 | 31 | 35 | N/A | N/A | N/A | N/A | N/A | 115/60/1 | 15 | 2 | Cord | N/A | N/A | 34" x 27" x 43" | 34 | 27 | 43 | 185 | 1 year labor on all components; 2 years parts on all components | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/37D6F8D2-0063-4122-A26E-E5936D9E03E0/jpg | https://www.scotsman-ice.com/products/Ice-Dispensers/Ice-Only/IOD150
IOD15WF-1 | Ice Only Dispenser | IOD150 | IOD | 00840315404953 | 840315404953 | NEW | Scotsman IOD150-1 Ice Dispenser With Water Filler, 22" Width - 150 lb. Storage | Scotsman IOD150-1 Ice Dispenser With Water Filler, 22" Width - 150 lb. Storage (115v/60hz/1ph) | Ice Dispenser, counter model, 150 lb capacity, includes water fill lever, designed for cube-type or nugget-type ice, stainless steel exterior, cup activated, 115v/60/1-ph, NSF, cULus | N/A | N/A | 150 | N/A | N/A | Push-Chute | 23" x 31" x 35" | 23 | 31 | 35 | N/A | N/A | N/A | N/A | N/A | 115/60/1 | 15 | 2 | Cord | N/A | N/A | 34" x 27" x 43" | 34 | 27 | 43 | 185 | 1 year labor on all components; 2 years parts on all components | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/F52E6E67-732E-4388-A201-7B283B25EF5B/jpg | https://www.scotsman-ice.com/products/Ice-Dispensers/Ice-Only/IOD150
IOD200-1 | Ice Only Dispenser | IOD200 | IOD | 00840315404960 | 840315404960 | ID200B-1 | Scotsman IOD200-1 Ice Dispenser, 30" Width - 200 lb. Storage | Scotsman IOD200-1 Ice Dispenser, 30" Width - 200 lb. Storage (115v/60hz/1ph) | Ice Dispenser, counter model, 200 lb capacity, designed for cube-type or nugget-type ice, stainless steel exterior, cup activated, 115v/60/1-ph, NSF, cULus | N/A | N/A | 200 | N/A | N/A | Lever | 30" x 31" x 35" | 30 | 31 | 35 | N/A | N/A | N/A | N/A | N/A | 115/60/1 | 15 | 2 | Cord | N/A | N/A | 34" x 34" x 42" | 34 | 34 | 42 | 235 | 1 year labor on all components; 2 years parts on all components | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/D0DECD49-5DC7-4998-A4DC-5DDDB1AF350C/jpg | https://www.scotsman-ice.com/products/Ice-Dispensers/Ice-Only/IOD200
IOD200WF-1 | Ice Only Dispenser | IOD200 | IOD | 00840315404977 | 840315404977 | NEW | Scotsman IOD200-1 Ice Dispenser With Water Filler, 30" Width - 200 lb. Storage | Scotsman IOD200-1 Ice Dispenser With Water Filler, 30" Width - 200 lb. Storage (115v/60hz/1ph) | Ice Dispenser, counter model, 200 lb capacity, includes water fill lever, designed for cube-type or nugget-type ice, stainless steel exterior, cup activated, 115v/60/1-ph, NSF, cULus | N/A | N/A | 200 | N/A | N/A | Lever | 30" x 31" x 35" | 30 | 31 | 35 | N/A | N/A | N/A | N/A | N/A | 115/60/1 | 15 | 2 | Cord | N/A | N/A | 34" x 34" x 42" | 34 | 34 | 42 | 235 | 1 year labor on all components; 2 years parts on all components | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/95422F55-F43F-4799-9318-6300E3874D4D/jpg | https://www.scotsman-ice.com/products/Ice-Dispensers/Ice-Only/IOD200
IOD250-1 | Ice Only Dispenser | IOD250 | IOD | 00840315404984 | 840315404984 | ID250B-1 | Scotsman IOD250-1 Ice Dispenser, 30" Width - 250 lb. Storage | Scotsman IOD250-1 Ice Dispenser, 30" Width - 250 lb. Storage (115v/60hz/1ph) | Ice Dispenser, counter model, 250 lb capacity, designed for cube-type or nugget-type ice, stainless steel exterior, cup activated, 115v/60/1-ph, NSF, cULus | N/A | N/A | 250 | N/A | N/A | Lever | 30" x 31" x 41" | 30 | 31 | 41 | N/A | N/A | N/A | N/A | N/A | 115/60/1 | 15 | 2 | Cord | N/A | N/A | 34" x 34" x 49" | 34 | 34 | 49 | 260 | 1 year labor on all components; 2 years parts on all components | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/AF7CEB38-4D1D-47D6-BC32-6E76C55521C9/jpg | https://www.scotsman-ice.com/products/Ice-Dispensers/Ice-Only/IOD250
IOD250WF-1 | Ice Only Dispenser | IOD250 | IOD | 00840315404991 | 840315404991 | NEW | Scotsman IOD250-1 Ice Dispenser With Water Filler, 30" Width - 250 lb. Storage | Scotsman IOD250-1 Ice Dispenser With Water Filler, 30" Width - 250 lb. Storage (115v/60hz/1ph) | Ice Dispenser, counter model, 250 lb capacity, includes water fill lever, designed for cube-type or nugget-type ice, stainless steel exterior, cup activated, 115v/60/1-ph, NSF, cULus | N/A | N/A | 250 | N/A | N/A | Lever | 30" x 31" x 41" | 30 | 31 | 41 | N/A | N/A | N/A | N/A | N/A | 115/60/1 | 15 | 2 | Cord | N/A | N/A | 34" x 34" x 49" | 34 | 34 | 49 | 260 | 1 year labor on all components; 2 years parts on all components | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/EEBB8C01-2440-4E32-AFB6-C9A39FE16C1B/jpg | https://www.scotsman-ice.com/products/Ice-Dispensers/Ice-Only/IOD250

## Specification Data- Accessories
Model | Category | Product Family | Series Name (If Applicable) | GTIN | UPC | Replaces Model | Product Title/Name (140 Character Max) | Written Spec | Bin Storage Cap. (lb) | Unit Size (W" x D" x H") | Unit Size (Width: Inches) | Unit Size (Depth: Inches) | Unit Size (Height: Inches) | Volts/Hz/Phase | Shipping Dimensions (W" x D" x H") | Shipping Dimensions (Width: Inches) | Shipping Dimensions (Depth: Inches) | Shipping Dimensions (Height: Inches) | Shipping Weight (lb) | Warranty | Specification Sheet URL (Auto-Updating Link: Will NOT Break) | Primary Product Image URL (Auto-Updating Link: Will NOT Break)
IODST22 | Accessory | Machine Stand |  | 00840315405004 | 840315405004 | IOBDMS22 | Scotsman IODST22 Machine Stand for IOD150 | Ice Dispenser Stand for IOD150 models, 22"W x 29"D x 30"H, stainless steel, open top for hiding water, drain & electrical connections from view | N/A | 22" x 29" x 30" | 22 | 29 | 30 | N/A | 32" x 32" x 25" | 32 | 32 | 25 | 105 | 1 year parts and labor on all components | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/654F9713-E30F-4225-B0E1-EEA32482829A | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/FC2EEBC6-C9CA-43CB-9B89-48AC99FF4331/jpg
IODST30 | Accessory | Machine Stand |  | 00840315405011 | 840315405011 | IOBDMS30 | Scotsman IODST30 Machine Stand for IOD200/IOD250 | Ice Dispenser Stand for IOD200 & IOD250 models, 30"W x 29"D x 30"H, stainless steel, open top for hiding water, drain & electrical connections from view | N/A | 30" x 29" x 30" | 30 | 29 | 30 | N/A | 33" x 32" x 33" | 33 | 32 | 33 | 110 | 1 year parts and labor on all components | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/654F9713-E30F-4225-B0E1-EEA32482829A | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/53995613-C3FC-42E2-A92D-AC97B0D9B623/jpg
KBT80 | Accessory | Bin Top Adapter |  | 00840315405028 | 840315405028 | KBT40A | Scotsman KBT80 Bin Top Adapter Kit | Bin Top, for use with MC222L Eclipse® Cubers on IOD150 dispenser | N/A | N/A |  |  |  | N/A | 24" x 26" x 7" | 24 | 26 | 7 | 24 |  | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
KBT81 | Accessory | Bin Top Adapter |  | 00840315405035 | 840315405035 | KBT41 | Scotsman KBT81 Bin Top Adapter Kit | Bin Top, for use with MC222L Eclipse® Cuber on IOD200 & IOD250 dispensers | N/A | N/A |  |  |  | N/A | 32" x 32" x 5" | 32 | 32 | 5 | 25 |  | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
KBT82 | Accessory | Bin Top Adapter |  | 00840315405042 | 840315405042 | KBT42 | Scotsman KBT82 Bin Top Adapter Kit | Bin Top, for use with 22" cube or nugget maker (except MC222L) on IOD150 dispensers | N/A | N/A |  |  |  | N/A | 33" x 31" x 5" | 33 | 31 | 5 | 12 |  | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
KBT83 | Accessory | Bin Top Adapter |  | 00840315405059 | 840315405059 | KBT43 | Scotsman KBT83 Bin Top Adapter Kit | Bin Top, for use with 22" cube or nugget maker (except MC222L) on IOD200, IOD250 dispensers | N/A | N/A |  |  |  | N/A | 47" x 33" x 5" | 47 | 33 | 5 | 26 |  | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
KBT84 | Accessory | Bin Top Adapter |  | 00840315405066 | 840315405066 | KBT44 | Scotsman KBT84 Bin Top Adapter Kit | Bin Top, for use with 30" cube or nugget maker on IOD200, IOD250 dispensers | N/A | N/A |  |  |  | N/A | 33" x 32" x 2" | 33 | 32 | 2 | 13 |  | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
KNUGAGT | Accessory | Dispenser Nugget Kit |  | 00840315405073 | 840315405073 | KNUGDIV | Scotsman KNUGAGT Nugget Dispensing Kit for IOD Dispensers | Field Installed Nugget Ice Agitator Kit, for all IOD dispensers | N/A | N/A |  |  |  | N/A | 6" x 9" x 4" | 6 | 9 | 4 | 1 |  | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF

## Literature - Model to File
Model Number | Sales Literature
| Specification Sheet | Specification Sheet URL (Auto-Updating Link: Will NOT Break)
IOD150-1 | SIS-SS-DIS-IOD_1223.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
IOD15WF-1 | SIS-SS-DIS-IOD_1223.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
IOD200-1 | SIS-SS-DIS-IOD_1223.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
IOD200WF-1 | SIS-SS-DIS-IOD_1223.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
IOD250-1 | SIS-SS-DIS-IOD_1223.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
IOD250WF-1 | SIS-SS-DIS-IOD_1223.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/326C42DF-BBF4-42C8-BDC1-DCAE26F944EF
IODST22 | SIS-SS-MS-HST_IODST_0224.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/654F9713-E30F-4225-B0E1-EEA32482829A
IODST30 | SIS-SS-MS-HST_IODST_0224.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/654F9713-E30F-4225-B0E1-EEA32482829A

## Product Copy
Model Number | Features & Benefits | [6 empty] | Optional Accessories | Certifications |  |  | Warranty Information
| #1 Bullet | #2 Bullet | #3 Bullet | #4 Bullet | #5 Bullet | #6 Bullet | #7 Bullet | #1 Bullet | #1 | #2 | #3 | #1 | #2 | #3 | #4
IOD150-1 | Patented paddle wheel ice dispense technology maximizes counter space | Heavy-duty agitator motor for long life | Adjustable off-cycle agitation for various ice forms and ambient conditions | Heavy-duty agitator reduces ice jams and bridging | Insulated, heavy-duty drip tray prevents condensation | Compatible with Scotsman's 22" width (bin top adapters may be required) modular cube or nugget ice machines, and holds up to 150 lb. of ice |  | Optional IODST22 stand allows for freestanding configuration | NSF | UL | ADA Compliant Dispensing Area | 1 year labor on all components; 2 years parts on all components | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
IOD150WF-1 | Patented paddle wheel ice dispense technology maximizes counter space | Includes factory installed water fill lever | Heavy-duty agitator motor for long life | Adjustable off-cycle agitation for various ice forms and ambient conditions | Heavy-duty agitator reduces ice jams and bridging | Insulated, heavy-duty drip tray prevents condensation | Compatible with Scotsman's 22" width (bin top adapters may be required) modular cube or nugget ice machines, and holds up to 150 lb. of ice | Optional IODST22 stand allows for freestanding configuration | NSF | UL | ADA Compliant Dispensing Area | 1 year labor on all components; 2 years parts on all components | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
IOD200-1 | Patented paddle wheel ice dispense technology maximizes counter space | Heavy-duty agitator motor for long life | Adjustable off-cycle agitation for various ice forms and ambient conditions | Heavy-duty agitator reduces ice jams and bridging | Insulated, heavy-duty drip tray prevents condensation | Compatible with Scotsman's 30" or 22" width (bin top adapters may be required) modular cube or nugget ice machines, and holds up to 200 lb. of ice |  | Optional IODST30 stand allows for freestanding configuration | NSF | UL | ADA Compliant Dispensing Area | 1 year labor on all components; 2 years parts on all components | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
IOD200WF-1 | Patented paddle wheel ice dispense technology maximizes counter space | Includes factory installed water fill lever | Heavy-duty agitator motor for long life | Adjustable off-cycle agitation for various ice forms and ambient conditions | Heavy-duty agitator reduces ice jams and bridging | Insulated, heavy-duty drip tray prevents condensation | Compatible with Scotsman's 30" or 22" width (bin top adapters may be required) modular cube or nugget ice machines, and holds up to 200 lb. of ice | Optional IODST30 stand allows for freestanding configuration | NSF | UL | ADA Compliant Dispensing Area | 1 year labor on all components; 2 years parts on all components | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
IOD250-1 | Patented paddle wheel ice dispense technology maximizes counter space | Heavy-duty agitator motor for long life | Adjustable off-cycle agitation for various ice forms and ambient conditions | Heavy-duty agitator reduces ice jams and bridging | Insulated, heavy-duty drip tray prevents condensation | Compatible with Scotsman's 30" or 22" width (bin top adapters may be required) modular cube or nugget ice machines, and holds up to 250 lb. of ice |  | Optional IODST30 stand allows for freestanding configuration | NSF | UL | ADA Compliant Dispensing Area | 1 year labor on all components; 2 years parts on all components | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
IOD250WF-1 | Patented paddle wheel ice dispense technology maximizes counter space | Includes factory installed water fill lever | Heavy-duty agitator motor for long life | Adjustable off-cycle agitation for various ice forms and ambient conditions | Heavy-duty agitator reduces ice jams and bridging | Insulated, heavy-duty drip tray prevents condensation | Compatible with Scotsman's 30" or 22" width (bin top adapters may be required) modular cube or nugget ice machines, and holds up to 250 lb. of ice | Optional IODST30 stand allows for freestanding configuration | NSF | UL | ADA Compliant Dispensing Area | 1 year labor on all components; 2 years parts on all components | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor

## Compatible Accessories
Compatible Accessories | Stand | Nugget Dispensing Kit | Other Accessories
Model Number | For Freestanding Configurations: | Nugget Ice Agitator Kit for IOD Dispensers | Accessory 1 | Accessory 2 | Accessory 3
IOD150-1 | IODST22 | KNUGAGT | KBT80 | KBT82
IOD15WF-1 | IODST22 | KNUGAGT | KBT80 | KBT82
IOD200-1 | IODST30 | KNUGAGT | KBT81 | KBT83 | KBT84
IOD200WF-1 | IODST30 | KNUGAGT | KBT81 | KBT83 | KBT84
IOD250-1 | IODST30 | KNUGAGT | KBT81 | KBT83 | KBT84
IOD250WF-1 | IODST30 | KNUGAGT | KBT81 | KBT83 | KBT84

## Pricing Values
PRICE SHEET -- Scotsman IOD Series Ice Dispensers + Associated Accessories -- List Prices | [6 empty] | MSRP/MAP Multiplier
*Addendum, see full price list for effective date details | MSRP: Minimum Suggested Retail Price | [5 empty] | 0.4 | 0.4
| MAP: Minimum Advertised Price | [5 empty] | *Rounded down to nearest whole dollar
Model Number | Model Number With Revision Letter | GTIN | UPC | Description | Replaces: | List Price | MSRP Price | MAP Price
IOD150-1 | IOD150-1A | 00840315404946 | 840315404946 | DSP ICE ONLY 150LB | ID150B-1 | 10250 | 4100 | 4100
IOD150WF-1 | IOD150WF-1A | 00840315404953 | 840315404953 | DSP ICE ONLY 150LB WATER FILL |  | 10975 | 4390 | 4390
IOD200-1 | IOD200-1A | 00840315404960 | 840315404960 | DSP ICE ONLY 200LB | ID200B-1 | 12275 | 4910 | 4910
IOD200WF-1 | IOD200WF-1A | 00840315404977 | 840315404977 | DSP ICE ONLY 200LB WATER FILL |  | 13000 | 5200 | 5200
IOD250-1 | IOD250-1A | 00840315404984 | 840315404984 | DSP ICE ONLY 250LB | ID250B-1 | 14732 | 5892 | 5892
IOD250WF-1 | IOD250WF-1A | 00840315404991 | 840315404991 | DSP ICE ONLY 250LB WATER FILL |  | 15457 | 6062 | 6062
IODST22 | IODST22-A | 00840315405004 | 840315405004 | STAND IOD150 | IOBDMS22 | 3173 | 1269 | 1269
IODST30 | IODST30-A | 00840315405011 | 840315405011 | STAND IOD200/250 | IOBDMS30 | 3188 | 1275 | 1275
KBT80 | KBT80 | 00840315405028 | 840315405028 | KIT BINTOP IOD150 22 IN ECLIPSE | KBT40A | 2256 | 902 | 902
KBT81 | KBT81 | 00840315405035 | 840315405035 | KIT BINTOP IOD200/250 22 IN ECLIPSE | KBT41 | 2290 | 916 | 916
KBT82 | KBT82 | 00840315405042 | 840315405042 | KIT BINTOP IOD150 22 IN MODULAR ICEMAKER | KBT42 | 1126 | 450 | 450
KBT83 | KBT83 | 00840315405059 | 840315405059 | KIT BINTOP IOD200/250 22 IN MODULAR ICEMAKER | KBT43 | 1499 | 599 | 599
KBT84 | KBT84 | 00840315405066 | 840315405066 | KIT BINTOP IOD200/250 30 IN MODULAR ICEMAKER | KBT44 | 1039 | 415 | 415
KNUGAGT | KNUGAGT | 00840315405073 | 840315405073 | KIT AGITATOR IOD | KNUGDIV | 899 | 359 | 359