## Specification Data
Model Number | Category | Product Family | GTIN | UPC | Replaces Model | Product Title/Name (125 Character Max.) | Product Title/Name - Includes Electrical Configuration (140 Character Max.) | Written Spec | 90°/70° Production (lb) | 70°/50° Production (lb) | Ice Form | Ice Form Description | Unit Size (W" x D" x H") | Unit Size (Width: Inches) | Unit Size (Depth: Inches) | Unit Size (Height: Inches) | Condenser Type | Energy Usage (kWh/100 lb.) | Potable Water (gal/100 lb) | Condenser Water (gal/100 lb) | Volts/Hz/Phase | Max. Fuse Size | Circuit Wires | Min. Circuit Ampacity | Refrigerant | BTUs Per Hour | Refrigerant Charge (oz) | Shipping Dimensions (W" x D" x H") | Shipping Dimensions (Width: Inches) | Shipping Dimensions (Depth: Inches) | Shipping Dimensions (Height: Inches) | Shipping Weight (lb) | Warranty | Specification Sheet URL (Auto-Updating Link: Will NOT Break) | Primary Product Image URL (Auto-Updating Link: Will NOT Break) | Product Page URL
MC0722MAX-1 | Modular Cube | MC0722 | 00840315406285 | 840315406285 |  | Scotsman MC0722MAX-1 Prodigy ELITE® 22" Width, Air Cooled, Medium Cube Ice Machine - Up to 734 lb. | Scotsman MC0722MAX-1 Prodigy ELITE® 22" Width, Air Cooled, Medium Cube Ice Machine - Up to 734 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 734 lb/24 hours at 70°/50° (537 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filters, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, 115/60/1-ph, 18.8 amps, cULus, NSF, engineered and assembled in USA | 734 | 532 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 22" x 24" x 29" | 22 | 24 | 29 | Air | 5.03 | 17.1 | N/A | 115/60/1 | 20 | 2 | 18.8 | R290 | 12750 | 8.5 | 26" x 28" x 35" | 26 | 28 | 35 | 189 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/036C03D0-4443-4FF5-99C3-D1E0E638D8CD | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/E50429DC-3806-42DB-892B-3ECE950FA10E/jpg | https://www.scotsman-ice.com/products/Cube/Modular/MC0722-Prodigy-ELITE
MC0722SAX-1 | Modular Cube | MC0722 | 00840315406292 | 840315406292 |  | Scotsman MC0722SAX-1 Prodigy ELITE® 22" Width, Air Cooled, Small Cube Ice Machine - Up to 734 lb. | Scotsman MC0722SAX-1 Prodigy ELITE® 22" Width, Air Cooled, Small Cube Ice Machine - Up to 734 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 734 lb/24 hours at 70°/50° (537 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filters, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, 115v/60/1-ph, 18.8 amps, cULus, NSF, engineered and assembled in USA | 734 | 532 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 22" x 24" x 29" | 22 | 24 | 29 | Air | 5.03 | 17.1 | N/A | 115/60/1 | 20 | 2 | 18.8 | R290 | 12750 | 8.5 | 26" x 28" x 35" | 26 | 28 | 35 | 189 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/036C03D0-4443-4FF5-99C3-D1E0E638D8CD | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/E50429DC-3806-42DB-892B-3ECE950FA10E/jpg | https://www.scotsman-ice.com/products/Cube/Modular/MC0722-Prodigy-ELITE
MC1030MAX-32 | Modular Cube | MC1030 | 00840315406193 | 840315406193 | MC1030MA-32, C1030MA-32, CME1056A, CME1000, CM1000, CM1200 | Scotsman MC1030MAX-32 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 1041 lb. | Scotsman MC1030MAX-32 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 1041 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 1041 lb/24 hours at 70°/50° (782 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filters, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, 208-230v/60/1-ph, 14.2 amps, cULus, NSF, engineered and assembled in USA | 782 | 1041 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 29" | 30 | 24 | 29 | Air | 4.99 | 18.9 | N/A | 208-230/60/1 | 15 | 2 | 14.2 | R290 | 16200 | 13.5 | 34" x 28" x 34" | 34 | 28 | 34 | 235 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/DB67C3BA-4A44-4201-873F-082F45407461 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/7576F82E-8251-4DE3-9B14-A78013F5976B/jpg | https://www.scotsman-ice.com/products/Cube/Modular/MC1030-Prodigy-ELITE
MC1030MWX-32 | Modular Cube | MC1030 | 00840315406209 | 840315406209 | MC1030MW-32, C1030MW-32, CME1056W, CME1002W, CMS1002W, CM1000W | Scotsman MC1030MWX-32 Prodigy ELITE® 30" Width, Water Cooled, Medium Cube Ice Machine - Up to 983 lb. | Scotsman MC1030MWX-32 Prodigy ELITE® 30" Width, Water Cooled, Medium Cube Ice Machine - Up to 983 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 983 lb/24 hours at 70°/50° (855 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, 208-230v/60/1-ph, 13.0 amps, cULus, NSF, engineered and assembled in USA | 855 | 983 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 29" | 30 | 24 | 29 | Water | 4.15 | 17 | 167 | 208-230/60/1 | 15 | 2 | 13 | R290 | 16200 | 11.5 | 34" x 28" x 34" | 34 | 28 | 34 | 235 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/DB67C3BA-4A44-4201-873F-082F45407461 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/83E61666-7043-43AA-9605-EFB43DB4C10C/jpg | https://www.scotsman-ice.com/products/Cube/Modular/MC1030-Prodigy-ELITE
MC1030SAX-32 | Modular Cube | MC1030 | 00840315406216 | 840315406216 | MC1030SA-32, C1030SA-32, CME1056A, CME1000, CM1000, CM1200 | Scotsman MC1030SAX-32 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 1041 lb. | Scotsman MC1030SAX-32 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 1041 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 1041 lb/24 hours at 70°/50° (782 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filters, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, 208-230v/60/1-ph, 14.2 amps, cULus, NSF, engineered and assembled in USA | 782 | 1041 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 29" | 30 | 24 | 29 | Air | 4.99 | 18.9 | N/A | 208-230/60/1 | 15 | 2 | 14.2 | R290 | 16200 | 13.5 | 34" x 28" x 34" | 34 | 28 | 34 | 235 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/DB67C3BA-4A44-4201-873F-082F45407461 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/7576F82E-8251-4DE3-9B14-A78013F5976B/jpg | https://www.scotsman-ice.com/products/Cube/Modular/MC1030-Prodigy-ELITE
MC1030SWX-32 | Modular Cube | MC1030 | 00840315406223 | 840315406223 | MC1030SW-32, C1030SW-32, CME1056W, CME1002W, CMS1002W, CM1000W | Scotsman MC1030SWX-32 Prodigy ELITE® 30" Width, Water Cooled, Small Cube Ice Machine - Up to 983 lb. | Scotsman MC1030SWX-32 Prodigy ELITE® 30" Width, Water Cooled, Small Cube Ice Machine - Up to 983 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 983 lb/24 hours at 70°/50° (855 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, 208-230v/60/1-ph, 13.0 amps, cULus, NSF, engineered and assembled in USA | 855 | 983 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 29" | 30 | 24 | 29 | Water | 4.15 | 17 | 167 | 208-230/60/1 | 15 | 2 | 13 | R290 | 16200 | 11.5 | 34" x 28" x 34" | 34 | 28 | 34 | 235 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/DB67C3BA-4A44-4201-873F-082F45407461 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/83E61666-7043-43AA-9605-EFB43DB4C10C/jpg | https://www.scotsman-ice.com/products/Cube/Modular/MC1030-Prodigy-ELITE

## Specification Sheets
Model Number | Sales Literature
| Specification Sheet | Specification Sheet URL (Auto-Updating Link: Will NOT Break)
MC0722MAX-1 | SIS-SS-PE-MC0722_0725 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/036C03D0-4443-4FF5-99C3-D1E0E638D8CD
MC0722SAX-1 | SIS-SS-PE-MC0722_0725 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/036C03D0-4443-4FF5-99C3-D1E0E638D8CD
MC1030MAX-32 | SIS-SS-PE-MC1030_1225 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/DB67C3BA-4A44-4201-873F-082F45407461
MC1030MWX-32 | SIS-SS-PE-MC1030_1225 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/DB67C3BA-4A44-4201-873F-082F45407461
MC1030SAX-32 | SIS-SS-PE-MC1030_1225 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/DB67C3BA-4A44-4201-873F-082F45407461
MC1030SWX-32 | SIS-SS-PE-MC1030_1225 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/DB67C3BA-4A44-4201-873F-082F45407461

## Product Copy
Model Number | Features & Benefits | [18 empty] | Certifications | [5 empty] | Warranty Information
| Bullet #1 | Bullet #2 | Bullet #3 | Bullet #4 | Bullet #5 | Bullet #6 | Bullet #7 | Bullet #8 | Bullet #9 | Bullet #10 | Bullet #11 | Bullet #12 | Bullet #13 | Bullet #14 | Bullet #15 | Bullet #16 | Bullet #17 | Bullet #18 | Bullet #19 | #1 | #2 | #3 | #4 | #5 | #6 | #1 | #2 | #3 | #4
MC0722MAX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filters speed up cleaning process and reduce unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | Uses environmentally responsible, R290 refrigerant, with zero ozone depletion potential and low GWP | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts on the compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0722SAX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filters speed up cleaning process and reduce unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | Uses environmentally responsible, R290 refrigerant, with zero ozone depletion potential and low GWP | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts on the compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC1030MAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filters speed up cleaning process and reduce unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | Uses environmentally responsible, R290 refrigerant, with zero ozone depletion potential and low GWP | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts on the compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC1030MWX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | Uses environmentally responsible, R290 refrigerant, with zero ozone depletion potential and low GWP |  | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts on the compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC1030SAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filters speed up cleaning process and reduce unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | Uses environmentally responsible, R290 refrigerant, with zero ozone depletion potential and low GWP | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts on the compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC1030SWX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | Uses environmentally responsible, R290 refrigerant, with zero ozone depletion potential and low GWP |  | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts on the compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor

## Available Images
NOTE: While image file names may reference non-"X" models, they will remain applicable and accurate for the new R290 models.
Model Number | Primary Product Image URL (Auto-Updating Link: Will NOT Break if embedded) | VIEW ALL AVAILABLE IMAGES:
MC0722MAX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/E50429DC-3806-42DB-892B-3ECE950FA10E/jpg | https://portal.scotsman-ice.com/Search?search_query=mc0722&search_type=Images
MC0722SAX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/E50429DC-3806-42DB-892B-3ECE950FA10E/jpg | https://portal.scotsman-ice.com/Search?search_query=mc0722&search_type=Images
MC1030MAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/7576F82E-8251-4DE3-9B14-A78013F5976B/jpg | https://portal.scotsman-ice.com/Search?search_query=mc1030ma&search_type=Images
MC1030MWX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/83E61666-7043-43AA-9605-EFB43DB4C10C/jpg | https://portal.scotsman-ice.com/Search?search_query=mc1030mw&search_type=Images
MC1030SAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/7576F82E-8251-4DE3-9B14-A78013F5976B/jpg | https://portal.scotsman-ice.com/Search?search_query=mc1030sa&search_type=Images
MC1030SWX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/83E61666-7043-43AA-9605-EFB43DB4C10C/jpg | https://portal.scotsman-ice.com/Search?search_query=mc1030sw&search_type=Images

## Compatible Accessories
Compatible Accessories | Sanitation Accessories |  | Intelligent Control Accessories |  |  |  |  | Storage Bins | [7 empty] | Water Filter Option #1 |  |  | Water Filter Option #2 |  |  | Prefilter Option
Model Number | XSafe® Sanitation System | AquaBullet® Antimicrobial Wand | Vari-Smart™ Ice Level Control | Basic Ice Level Control | Smart-Board™ | Smart-Board™ (Network Capable) | Advanced Sustainability Kit | Recommended Bin (Primary) | Bin Top Adapter for Recommended Bin (if applicable) | Other Compatible Bin #1 | Bin Top Adapter for Compatible Bin #1 (if applicable) | Other Compatible Bin #2 | Bin Top Adapter for Compatible Bin #2 (if applicable) | Other Compatible Bin #3 | Bin Top Adapter for Compatible Bin #3 (if applicable) | AquaPatrol™ Filter System | AquaPatrol™ Replacement Filter (1 PK) | AquaPatrol™ Replacement Filter (6 PK) | SSM Plus (Chlorine Removal) Filter System | SSM PLUS Replacement Filter (1 PK) | SSM PLUS Replacement Filter (6 PK) | SC Coarse Prefilter | SC Replacement Prefilters
MC0722MAX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B842S | KBT39 | B530P | KBT27 | B530S | KBT27 | B322S |  | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0722SAX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B842S | KBT39 | B530P | KBT27 | B530S | KBT27 | B322S |  | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC1030MAX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B948S | KBT22B | BL1048S |  | B842S | KBT29 | BL1360S |  | AP2-P | APRC1-P | APRC6-P | SSM2-P | SSMRC1 | SSMRC6 | SC20-A | SC20RC20
MC1030MWX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B948S | KBT22B | BL1048S |  | B842S | KBT29 | BL1360S |  | AP2-P | APRC1-P | APRC6-P | SSM2-P | SSMRC1 | SSMRC6 | SC20-A | SC20RC20
MC1030SAX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B948S | KBT22B | BL1048S |  | B842S | KBT29 | BL1360S |  | AP2-P | APRC1-P | APRC6-P | SSM2-P | SSMRC1 | SSMRC6 | SC20-A | SC20RC20
MC1030SWX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B948S | KBT22B | BL1048S |  | B842S | KBT29 | BL1360S |  | AP2-P | APRC1-P | APRC6-P | SSM2-P | SSMRC1 | SSMRC6 | SC20-A | SC20RC20

## Pricing Values
PRICE SHEET -- Scotsman MC0722 and MC1030 R290 Modular Cube + Associated Accessories -- List Prices | [5 empty] | MSRP/MAP Multiplier
*Addendum, see full price list for more details | MSRP: Minimum Suggested Retail Price |  |  |  |  | 0.41
| MAP: Minimum Advertised Price |  |  |  |  | *Rounded down to nearest whole dollar
Model Number | Model Number With Revision Letter | GTIN | UPC | Description | 5/1/25 List Price | 5/1/25 MSRP/MAP Price
ADS-AB6 | ADS-AB6 | 00840315402539 | 840315402539 | AQUABULLET 6 PACK | 1962 | 804
AP2-P | AP2-P | 00840315402553 | 840315402553 | FILTER AP PLUS DOUBLE | 1155 | 473
APRC1-P | APRC1-P | 00840315402577 | 840315402577 | FILTER AP PLUS RPLCMNT CRTRDG 1PACK | 201 | 82
APRC6-P | APRC6-P | 00840315402584 | 840315402584 | FILTER AP PLUS RPLCMNT CRTRDG 6PACK | 1006 | 412
KBILC | KBILC | 00840315404939 | 840315404939 | KIT BASIC ICE LEVEL CONTROL | 209 | 85
KPAS | KPAS | 00840315403307 | 840315403307 | KIT PROD ADV SUS KVS KSBU-N | 1746 | 715
KSBU | KSBU | 00840315403376 | 840315403376 | KIT PRODIGY SMART BOARD ADVANCED CONTROL | 1188 | 487
KSBU-N | KSBU-N | 00840315403383 | 840315403383 | KIT PRODIGY SMART BOARD NETWORK ADVNCD CNTL | 1541 | 631
KTPS-SM | KTPS-SM | 00840315403444 | 840315403444 | KIT TAMPER PROOF SCREWS 1 30IN CUBER | 302 | 123
KVS | KVS | 00840315403482 | 840315403482 | KIT PRODIGY VARI SMART ICE LEVEL CONTROL | 530 | 217
MC0722MAX-1 | MC0722MAX-1A | 00840315406285 | 840315406285 | MOD CUB AC 700LB 115/60/1 MEDIUM | 11604 | 4757
MC0722SAX-1 | MC0722SAX-1A | 00840315406292 | 840315406292 | MOD CUB AC 700LB 115/60/1 SMALL | 11604 | 4757
MC1030MAX-32 | MC1030MAX-32A | 00840315406193 | 840315406193 | MOD CUB AC 1000LB 208-230/60/1 MEDIUM | 17728 | 7268
MC1030MWX-32 | MC1030MWX-32A | 00840315406209 | 840315406209 | MOD CUB WC 1000LB 208-230/60/1 MEDIUM | 17978 | 7370
MC1030SAX-32 | MC1030SAX-32A | 00840315406216 | 840315406216 | MOD CUB AC 1000LB 208-230/60/1 SMALL | 17728 | 7268
MC1030SWX-32 | MC1030SWX-32A | 00840315406223 | 840315406223 | MOD CUB WC 1000LB 208-230/60/1 SMALL | 17978 | 7370
SC10-A | SC10-A | 00840315403536 | 840315403536 | FILTER 10IN COURSE PRE | 292 | 119
SC10RC40 | SC10RC40 | 00840315403543 | 840315403543 | FILTER 10IN COURSE PRE RPLCMNT CRTRDG 40PACK | 540 | 221
SSM2-P | SSM2-P | 00840315403581 | 840315403581 | FILTER SSM PLUS DUAL | 1488 | 610
SSMRC1 | SSMRC1 | 00840315403604 | 840315403604 | FILTER SSM RPLCMNT CRTRD 1PACK | 280 | 114
SSMRC6 | SSMRC6 | 00840315403611 | 840315403611 | FILTER SSM RPLCMNT CRTRD 6PACK | 1367 | 560
XR-30 | XR-30 | 00840315403628 | 840315403628 | XSAFE UV SANITATION SYSTEM | 1149 | 471