## Specification Data
Model Number | Category | Product Family | Series Name (If Applicable) | GTIN | UPC | Replaces Model | Product Title/Name (125 Character Max.) | Product Title/Name - Includes Electrical Configuration (140 Character Max.) | Written Spec | 90°/70° Production (lb) | 70°/50° Production (lb) | Ice Form | Ice Form Description | Unit Size (W" x D" x H") | Unit Size (Width: Inches) | Unit Size (Depth: Inches) | Unit Size (Height: Inches) | Condenser Type | Energy Usage (kWh/100 lb.) | Potable Water (gal/100 lb) | Condenser Water (gal/100 lb) | Volts/Hz/Phase | Max. Fuse Size | Circuit Wires | Min. Circuit Ampacity | Refrigerant | BTUs Per Hour | Refrigerant Charge (oz) | Shipping Dimensions (W" x D" x H") | Shipping Dimensions (Width: Inches) | Shipping Dimensions (Depth: Inches) | Shipping Dimensions (Height: Inches) | Shipping Weight (lb) | Warranty | Specification Sheet URL (Auto-Updating Link: Will NOT Break) | Primary Product Image URL (Auto-Updating Link: Will NOT Break)
MC0830MAX-32 | Modular Cube | MC0830 | Prodigy ELITE® | 00840315405806 | 840315405806 | MC0830MA-32 | Scotsman MC0830MAX-32 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 921 lb. | Scotsman MC0830MAX-32 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 921 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 921 lb/24 hours at 70°/50° (708 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filters, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 Refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 708 | 921 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 29" | 30 | 24 | 29 | Air | 5.17 | 18 | N/A | 208-230/60/1 | 15 | 2 | 12.9 | R290 | 13700 | 14.5 | 34" x 28" x 34" | 34 | 28 | 34 | 220 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/C641E191-AA5E-41C9-B9D9-4DC38E26109A | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/7576F82E-8251-4DE3-9B14-A78013F5976B/jpg
MC0830MWX-32 | Modular Cube | MC0830 | Prodigy ELITE® | 00840315405813 | 840315405813 | MC0830MW-32 | Scotsman MC0830MWX-32 Prodigy ELITE® 30" Width, Water Cooled, Medium Cube Ice Machine - Up to 907 lb. | Scotsman MC0830MWX-32 Prodigy ELITE® 30" Width, Water Cooled, Medium Cube Ice Machine - Up to 907 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 907 lb/24 hours at 70°/50° (784 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 Refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 784 | 907 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 29" | 30 | 24 | 29 | Water | 4.28 | 18.9 | 183 | 208-230/60/1 | 15 | 2 | 11.7 | R290 | 13700 | 13.5 | 34" x 28" x 34" | 34 | 28 | 34 | 220 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/C641E191-AA5E-41C9-B9D9-4DC38E26109A | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/83E61666-7043-43AA-9605-EFB43DB4C10C/jpg
MC0830SAX-32 | Modular Cube | MC0830 | Prodigy ELITE® | 00840315405820 | 840315405820 | MC0830SA-32 | Scotsman MC0830SAX-32 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 921 lb. | Scotsman MC0830SAX-32 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 921 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 921 lb/24 hours at 70°/50° (708 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filters, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 Refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 708 | 921 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 29" | 30 | 24 | 29 | Air | 5.17 | 18 | N/A | 208-230/60/1 | 15 | 2 | 12.9 | R290 | 13700 | 14.5 | 34" x 28" x 34" | 34 | 28 | 34 | 220 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/C641E191-AA5E-41C9-B9D9-4DC38E26109A | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/7576F82E-8251-4DE3-9B14-A78013F5976B/jpg
MC0830SWX-32 | Modular Cube | MC0830 | Prodigy ELITE® | 00840315405837 | 840315405837 | MC0830SW-32 | Scotsman MC0830SWX-32 Prodigy ELITE® 30" Width, Water Cooled, Small Cube Ice Machine - Up to 907 lb. | Scotsman MC0830SWX-32 Prodigy ELITE® 30" Width, Water Cooled, Small Cube Ice Machine - Up to 907 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 907 lb/24 hours at 70°/50° (784 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 Refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 784 | 907 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 29" | 30 | 24 | 29 | Water | 4.28 | 18.9 | 183 | 208-230/60/1 | 15 | 2 | 11.7 | R290 | 13700 | 13.5 | 34" x 28" x 34" | 34 | 28 | 34 | 220 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/C641E191-AA5E-41C9-B9D9-4DC38E26109A | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/83E61666-7043-43AA-9605-EFB43DB4C10C/jpg

## Specification Sheets
Model Number | Sales Literature
| Specification Sheet | Specification Sheet URL (Auto-Updating Link: Will NOT Break)
MC0830MAX-32 | SIS-SS-PE-MC0830_0825.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/C641E191-AA5E-41C9-B9D9-4DC38E26109A
MC0830MWX-32 | SIS-SS-PE-MC0830_0825.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/C641E191-AA5E-41C9-B9D9-4DC38E26109A
MC0830SAX-32 | SIS-SS-PE-MC0830_0825.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/C641E191-AA5E-41C9-B9D9-4DC38E26109A
MC0830SWX-32 | SIS-SS-PE-MC0830_0825.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/C641E191-AA5E-41C9-B9D9-4DC38E26109A

## Product Copy
Model Number | Features & Benefits | [18 empty] | Certifications | [6 empty] | Warranty Information
| #1 Bullet | #2 Bullet | #3 Bullet | #4 Bullet | #5 Bullet | #6 Bullet | #7 Bullet | #8 Bullet | #9 Bullet | #10 Bullet | #11 Bullet | #12 Bullet | #13 Bullet | #14 Bullet | #15 Bullet | #16 Bullet | #17 Bullet | #18 Bullet | #19 Bullet | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #1 | #2 | #3 | #4
MC0830MAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filters speed up cleaning process and reduce unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | Uses environmentally responsible, R290 refrigerant, with zero ozone depletion potential and low GWP | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | DOE Compliant | Bluetooth® Enabled Product | 3 years parts and labor on all components; 5 years parts on the compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0830MWX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | Uses environmentally responsible, R290 refrigerant, with zero ozone depletion potential and low GWP |  | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | DOE Compliant | Bluetooth® Enabled Product | 3 years parts and labor on all components; 5 years parts on the compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0830SAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filters speed up cleaning process and reduce unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | Uses environmentally responsible, R290 refrigerant, with zero ozone depletion potential and low GWP | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | DOE Compliant | Bluetooth® Enabled Product | 3 years parts and labor on all components; 5 years parts on the compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0830SWX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | Uses environmentally responsible, R290 refrigerant, with zero ozone depletion potential and low GWP |  | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | DOE Compliant | Bluetooth® Enabled Product | 3 years parts and labor on all components; 5 years parts on the compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor

## Available Images
NOTE: While image file names may reference non-"X" models, they will remain applicable and accurate for the new R290 models.
Model Number | Primary Product Image URL (Auto-Updating Link: Will NOT Break if embedded) | VIEW ALL AVAILABLE IMAGES:
MC0830MAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/7576F82E-8251-4DE3-9B14-A78013F5976B/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0830MA&search_type=Images
MC0830MWX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/83E61666-7043-43AA-9605-EFB43DB4C10C/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0830MW&search_type=Images
MC0830SAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/7576F82E-8251-4DE3-9B14-A78013F5976B/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0830SA&search_type=Images
MC0830SWX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/83E61666-7043-43AA-9605-EFB43DB4C10C/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0830SW&search_type=Images

## Compatible Accessories
Compatible Accessories | Intelligent Control Accessories |  |  |  |  | Storage Bins | [7 empty] | Water Filter Option #1 |  |  | Water Filter Option #2 |  |  | Prefilter Option
Model Number | Vari-Smart™ Ice Level Control | Basic Ice Level Control | Smart-Board™ | Smart-Board™ (Network Capable) | Advanced Sustainability Kit | Recommended Bin (Primary) | Bin Top Adapter for Recommended Bin (if applicable) | Other Compatible Bin #1 | Bin Top Adapter for Compatible Bin #1 (if applicable) | Other Compatible Bin #2 | Bin Top Adapter for Compatible Bin #2 (if applicable) | Other Compatible Bin #3 | Bin Top Adapter for Compatible Bin #3 (if applicable) | AquaPatrol™ Filter System | AquaPatrol™ Replacement Filter (1 PK) | AquaPatrol™ Replacement Filter (6 PK) | SSM Plus (Chlorine Removal) Filter System | SSM PLUS Replacement Filter (1 PK) | SSM PLUS Replacement Filter (6 PK) | SC Coarse Prefilter | SC Replacement Prefilters
MC0830MAX-32 | KVS | KBILC | KSBU | KSBU-N | KPAS | B842S | KBT29 | B948S | KBT22B | B530P |  | B530S |  | AP2-P | APRC1-P | APRC6-P | SSM2-P | SSMRC1 | SSMRC6 | SC20-A | SC20RC20
MC0830MWX-32 | KVS | KBILC | KSBU | KSBU-N | KPAS | B842S | KBT29 | B948S | KBT22B | B530P |  | B530S |  | AP2-P | APRC1-P | APRC6-P | SSM2-P | SSMRC1 | SSMRC6 | SC20-A | SC20RC20
MC0830SAX-32 | KVS | KBILC | KSBU | KSBU-N | KPAS | B842S | KBT29 | B948S | KBT22B | B530P |  | B530S |  | AP2-P | APRC1-P | APRC6-P | SSM2-P | SSMRC1 | SSMRC6 | SC20-A | SC20RC20
MC0830SWX-32 | KVS | KBILC | KSBU | KSBU-N | KPAS | B842S | KBT29 | B948S | KBT22B | B530P |  | B530S |  | AP2-P | APRC1-P | APRC6-P | SSM2-P | SSMRC1 | SSMRC6 | SC20-A | SC20RC20

## Pricing Values
PRICE SHEET -- Scotsman MC0830 R290 Modular Cube + Associated Accessories -- List Prices | [5 empty] | MSRP/MAP Multiplier
*Addendum, see full price list for more details | MSRP: Minimum Suggested Retail Price |  |  |  |  | 0.41
| MAP: Minimum Advertised Price |  |  |  |  | *Rounded down to nearest whole dollar
Model Number | Model Number With Revision Letter | GTIN | UPC | Description | 5/1/25 List Price | 5/1/25 MSRP/MAP Price
ADS-AB6 | ADS-AB6 | 00840315402539 | 840315402539 | AQUABULLET 6 PACK | 1962 | 804
AP2-P | AP2-P | 00840315402553 | 840315402553 | FILTER AP PLUS DOUBLE | 1155 | 473
APRC1-P | APRC1-P | 00840315402577 | 840315402577 | FILTER AP PLUS RPLCMNT CRTRDG 1PACK | 201 | 82
APRC6-P | APRC6-P | 00840315402584 | 840315402584 | FILTER AP PLUS RPLCMNT CRTRDG 6PACK | 1006 | 412
KBILC | KBILC | 00840315404939 | 840315404939 | KIT BASIC ICE LEVEL CONTROL | 209 | 85
KPAS | KPAS | 00840315403307 | 840315403307 | KIT PROD ADV SUS KVS KSBU-N | 1746 | 715
KSBU | KSBU | 00840315403376 | 840315403376 | KIT PRODIGY SMART BOARD ADVANCED CONTROL | 1188 | 487
KSBU-N | KSBU-N | 00840315403383 | 840315403383 | KIT PRODIGY SMART BOARD NETWORK ADVNCD CNTL | 1541 | 631
KTPS-SM | KTPS-SM | 00840315403444 | 840315403444 | KIT TAMPER PROOF SCREWS 1 30IN CUBER | 302 | 123
KVS | KVS | 00840315403482 | 840315403482 | KIT PRODIGY VARI SMART ICE LEVEL CONTROL | 530 | 217
MC0830MAX-32 | MC0830MAX-32A | 00840315405806 | 840315405806 | MOD CUB AC 800LB 208-230/60/1 MEDIUM | 14750 | 6047
MC0830MWX-32 | MC0830MWX-32A | 00840315405813 | 840315405813 | MOD CUB WC 800LB 208-230/60/1 MEDIUM | 15000 | 6150
MC0830SAX-32 | MC0830SAX-32A | 00840315405820 | 840315405820 | MOD CUB AC 800LB 208-230/60/1 SMALL | 14750 | 6047
MC0830SWX-32 | MC0830SWX-32A | 00840315405837 | 840315405837 | MOD CUB WC 800LB 208-230/60/1 SMALL | 15000 | 6150
SC10-A | SC10-A | 00840315403536 | 840315403536 | FILTER 10IN COURSE PRE | 292 | 119
SC10RC40 | SC10RC40 | 00840315403543 | 840315403543 | FILTER 10IN COURSE PRE RPLCMNT CRTRDG 40PACK | 540 | 221
SSM2-P | SSM2-P | 00840315403581 | 840315403581 | FILTER SSM PLUS DUAL | 1488 | 610
SSMRC1 | SSMRC1 | 00840315403604 | 840315403604 | FILTER SSM RPLCMNT CRTRD 1PACK | 280 | 114
SSMRC6 | SSMRC6 | 00840315403611 | 840315403611 | FILTER SSM RPLCMNT CRTRD 6PACK | 1367 | 560
XR-30 | XR-30 | 00840315403628 | 840315403628 | XSAFE UV SANITATION SYSTEM | 1149 | 471