## Specification Data
Model Number | Category | Product Family | GTIN | UPC | Replaces Model | Product Title/Name (125 Character Max.) | Product Title/Name - Includes Electrical Configuration (140 Character Max.) | Written Spec | 90°/70° Production (lb) | 70°/50° Production (lb) | Ice Form | Ice Form Description | Unit Size (W" x D" x H") | Unit Size (Width: Inches) | Unit Size (Depth: Inches) | Unit Size (Height: Inches) | Condenser Type | Energy Usage (kWh/100 lb.) | Potable Water (gal/100 lb) | Condenser Water (gal/100 lb) | Volts/Hz/Phase | Max. Fuse Size | Circuit Wires | Min. Circuit Ampacity | Refrigerant | BTUs Per Hour | Refrigerant Charge (oz) | Shipping Dimensions (W" x D" x H") | Shipping Dimensions (Width: Inches) | Shipping Dimensions (Depth: Inches) | Shipping Dimensions (Height: Inches) | Shipping Weight (lb) | Warranty | Specification Sheet URL (Auto-Updating Link: Will NOT Break) | Primary Product Image URL (Auto-Updating Link: Will NOT Break)
MC0330MAX-1 | Modular Cube | MC0330 | 00840315405394 | 840315405394 | MC0330MA-1 | Scotsman MC0330MAX-1 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 365 lb. | Scotsman MC0330MAX-1 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 365 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 365 lb/24 hours at 70°/50° (283 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 115v/60/1-ph, cULus, NSF, engineered and assembled in USA | 283 | 365 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 23" | 30 | 24 | 23 | Air | 5.64 | 19 | N/A | 115/60/1 | 15 | 2 | 10.3 | R290 | 5200 | 6 | 34" x 28" x 28" | 34 | 28 | 28 | 155 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/BBDDD844-0194-42C0-9EDD-8CF3D892F299 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0330MAX-32 | Modular Cube | MC0330 | 00840315405592 | 840315405592 | MC0330MA-32 | Scotsman MC0330MAX-32 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 365 lb. | Scotsman MC0330MAX-32 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 365 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 365 lb/24 hours at 70°/50° (283 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 283 | 365 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 23" | 30 | 24 | 23 | Air | 5.64 | 19 | N/A | 208-230/60/1 | 15 | 2 | 5.5 | R290 | 5200 | 6 | 34" x 28" x 28" | 34 | 28 | 28 | 155 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/BBDDD844-0194-42C0-9EDD-8CF3D892F299 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0330MWX-1 | Modular Cube | MC0330 | 00840315405400 | 840315405400 | MC0330MW-1 | Scotsman MC0330MWX-1 Prodigy ELITE® 30" Width, Water Cooled, Medium Cube Ice Machine - Up to 372 lb. | Scotsman MC0330MWX-1 Prodigy ELITE® 30" Width, Water Cooled, Medium Cube Ice Machine - Up to 372 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 372 lb/24 hours at 70°/50° (293 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 115v/60/1-ph, cULus, NSF, engineered and assembled in USA | 293 | 372 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 23" | 30 | 24 | 23 | Water | 4.51 | 17.8 | 139 | 115/60/1 | 15 | 2 | 9.5 | R290 | 5200 | 5 | 34" x 28" x 28" | 34 | 28 | 28 | 155 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/BBDDD844-0194-42C0-9EDD-8CF3D892F299 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg
MC0330SAX-1 | Modular Cube | MC0330 | 00840315405417 | 840315405417 | MC0330SA-1 | Scotsman MC0330SAX-1 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 365 lb. | Scotsman MC0330SAX-1 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 365 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 365 lb/24 hours at 70°/50° (283 lb AHRI certified at 90°70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 115v/60/1-ph, cULus, NSF, engineered and assembled in USA | 283 | 365 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 23" | 30 | 24 | 23 | Air | 5.64 | 19 | N/A | 115/60/1 | 15 | 2 | 10.3 | R290 | 5200 | 6 | 34" x 28" x 28" | 34 | 28 | 28 | 155 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/BBDDD844-0194-42C0-9EDD-8CF3D892F299 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0330SWX-1 | Modular Cube | MC0330 | 00840315405424 | 840315405424 | MC0330SW-1 | Scotsman MC0330SWX-1 Prodigy ELITE® 30" Width, Water Cooled, Small Cube Ice Machine - Up to 372 lb. | Scotsman MC0330SWX-1 Prodigy ELITE® 30" Width, Water Cooled, Small Cube Ice Machine - Up to 372 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 372 lb/24 hours at 70°/50° (293 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 115v/60/1-ph, cULus, NSF, engineered and assembled in USA | 293 | 372 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 23" | 30 | 24 | 23 | Water | 4.51 | 17.8 | 139 | 115/60/1 | 15 | 2 | 9.5 | R290 | 5200 | 5 | 34" x 28" x 28" | 34 | 28 | 28 | 155 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/BBDDD844-0194-42C0-9EDD-8CF3D892F299 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg
MC0530MAX-1 | Modular Cube | MC0530 | 00840315405479 | 840315405479 | MC0530MA-1 | Scotsman MC0530MAX-1 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 476 lb. | Scotsman MC0530MAX-1 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 476 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 476 lb/24 hours at 70°/50° (370 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 115v/60/1-ph, cULus, NSF, engineered and assembled in USA | 370 | 476 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 23" | 30 | 24 | 23 | Air | 4.75 | 18.7 | N/A | 115/60/1 | 15 | 2 | 11.1 | R290 | 7900 | 6.5 | 34" x 28" x 28" | 34 | 28 | 28 | 175 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0530MAX-32 | Modular Cube | MC0530 | 00840315405479 | 840315405479 | MC0530MA-32 | Scotsman MC0530MAX-32 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 476 lb. | Scotsman MC0530MAX-32 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 476 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 476 lb/24 hours at 70°/50° (370 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 370 | 476 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 23" | 30 | 24 | 23 | Air | 4.75 | 18.7 | N/A | 208-230/60/1 | 15 | 2 | 5.9 | R290 | 7900 | 6.5 | 34" x 28" x 28" | 34 | 28 | 28 | 175 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0530MWX-1 | Modular Cube | MC0530 | 00840315405486 | 840315405486 | MC0530MW-1 | Scotsman MC0530MWX-1 Prodigy ELITE® 30" Width, Water Cooled, Medium Cube Ice Machine - Up to 507 lb. | Scotsman MC0530MWX-1 Prodigy ELITE® 30" Width, Water Cooled, Medium Cube Ice Machine - Up to 507 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 507 lb/24 hours at 70°/50° (371 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 115v/60/1-ph, cULus, NSF, engineered and assembled in USA | 371 | 507 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 23" | 30 | 24 | 23 | Water | 3.86 | 16.5 | 154 | 115/60/1 | 15 | 2 | 9.5 | R290 | 7900 | 5.25 | 34" x 28" x 28" | 34 | 28 | 28 | 175 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg
MC0530SAX-1 | Modular Cube | MC0530 | 00840315405493 | 840315405493 | MC0530SA-1 | Scotsman MC0530SAX-1 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 476 lb. | Scotsman MC0530SAX-1 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 476 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 476 lb/24 hours at 70°/50° (370 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 115v/60/1-ph, cULus, NSF, engineered and assembled in USA | 370 | 476 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 23" | 30 | 24 | 23 | Air | 4.75 | 18.7 | N/A | 115/60/1 | 15 | 2 | 11.1 | R290 | 7900 | 6.5 | 34" x 28" x 28" | 34 | 28 | 28 | 175 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0530SAX-32 | Modular Cube | MC0530 | 00840315405493 | 840315405493 | MC0530SA-32 | Scotsman MC0530SAX-32 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 476 lb. | Scotsman MC0530SAX-32 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 476 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 476 lb/24 hours at 70°/50° (370 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 370 | 476 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 23" | 30 | 24 | 23 | Air | 4.75 | 18.7 | N/A | 208-230/60/1 | 15 | 2 | 5.9 | R290 | 7900 | 6.5 | 34" x 28" x 28" | 34 | 28 | 28 | 175 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0530SWX-1 | Modular Cube | MC0530 | 00840315405509 | 840315405509 | MC0530SW-1 | Scotsman MC0530SWX-1 Prodigy ELITE® 30" Width, Water Cooled, Small Cube Ice Machine - Up to 507 lb. | Scotsman MC0530SWX-1 Prodigy ELITE® 30" Width, Water Cooled, Small Cube Ice Machine - Up to 507 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 507 lb/24 hours at 70°/50° (371 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 115v/60/1-ph, cULus, NSF, engineered and assembled in USA | 371 | 507 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 23" | 30 | 24 | 23 | Water | 3.86 | 16.5 | 154 | 115/60/1 | 15 | 2 | 9.5 | R290 | 7900 | 5.25 | 34" x 28" x 28" | 34 | 28 | 28 | 175 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg
MC0630MAX-1 | Modular Cube | MC0630 | 00840315405578 | 840315405578 | NEW | Scotsman MC0630MAX-1 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 582 lb. | Scotsman MC0630MAX-1 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 582 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 582 lb/24 hours at 70°/50° (479 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 115v/60/1-ph, cULus, NSF, engineered and assembled in USA | 479 | 582 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 23" | 30 | 24 | 23 | Air | 5.18 | 17.6 | N/A | 115/60/1 | 20 | 2 | 18.3 | R290 | 12700 | 6.5 | 34" x 28" x 28" | 34 | 28 | 28 | 190 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0630MAX-32 | Modular Cube | MC0630 | 00840315405516 | 840315405516 | MC0630MA-32 | Scotsman MC0630MAX-32 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 582 lb. | Scotsman MC0630MAX-32 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 582 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 582 lb/24 hours at 70°/50° (479 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 479 | 582 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 23" | 30 | 24 | 23 | Air | 5.18 | 17.6 | N/A | 208-230/60/1 | 15 | 2 | 9.5 | R290 | 12700 | 6.5 | 34" x 28" x 28" | 34 | 28 | 28 | 190 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0630MWX-32 | Modular Cube | MC0630 | 00840315405523 | 840315405523 | MC0630MW-32 | Scotsman MC0630MWX-32 Prodigy ELITE® 30" Width, Water Cooled, Medium Cube Ice Machine - Up to 603 lb. | Scotsman MC0630MWX-32 Prodigy ELITE® 30" Width, Water Cooled, Medium Cube Ice Machine - Up to 603 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 603 lb/24 hours at 70°/50° (536 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 536 | 603 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 30" x 24" x 23" | 30 | 24 | 23 | Water | 3.7 | 17.2 | 155 | 208-230/60/1 | 15 | 2 | 8.6 | R290 | 12700 | 6.5 | 34" x 28" x 28" | 34 | 28 | 28 | 190 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg
MC0630SAX-1 | Modular Cube | MC0630 | 00840315405585 | 840315405585 | NEW | Scotsman MC0630SAX-1 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 582 lb. | Scotsman MC0630SAX-1 Prodigy ELITE® 30" Width, Air Cooled, Medium Cube Ice Machine - Up to 582 lb. (115v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 582 lb/24 hours at 70°/50° (479 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 115v/60/1-ph, cULus, NSF, engineered and assembled in USA | 479 | 582 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 23" | 30 | 24 | 23 | Air | 5.18 | 17.6 | N/A | 115/60/1 | 20 | 2 | 18.3 | R290 | 12700 | 6.5 | 34" x 28" x 28" | 34 | 28 | 28 | 190 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0630SAX-32 | Modular Cube | MC0630 | 00840315405530 | 840315405530 | MC0630SA-32 | Scotsman MC0630SAX-32 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 582 lb. | Scotsman MC0630SAX-32 Prodigy ELITE® 30" Width, Air Cooled, Small Cube Ice Machine - Up to 582 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 582 lb at 70°/50° (479 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filter, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 479 | 582 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 23" | 30 | 24 | 23 | Air | 5.18 | 17.6 | N/A | 208-230/60/1 | 15 | 2 | 9.5 | R290 | 12700 | 6.5 | 34" x 28" x 28" | 34 | 28 | 28 | 190 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg
MC0630SWX-32 | Modular Cube | MC0630 | 00840315405547 | 840315405547 | MC0630SW-32 | Scotsman MC0630SWX-32 Prodigy ELITE® 30" Width, Water Cooled, Small Cube Ice Machine - Up to 603 lb. | Scotsman MC0630SWX-32 Prodigy ELITE® 30" Width, Water Cooled, Small Cube Ice Machine - Up to 603 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 603 lb/24 hours at 70°/50° (536 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 536 | 603 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 30" x 24" x 23" | 30 | 24 | 23 | Water | 3.7 | 17.2 | 155 | 208-230/60/1 | 15 | 2 | 8.6 | R290 | 12700 | 6.5 | 34" x 28" x 28" | 34 | 28 | 28 | 190 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg
MC0722MAX-32 | Modular Cube | MC0722 | 00840315405554 | 840315405554 | MC0722MA-32 | Scotsman MC0722MAX-32 Prodigy ELITE® 22" Width, Air Cooled, Medium Cube Ice Machine - Up to 734 lb. | Scotsman MC0722MAX-32 Prodigy ELITE® 22" Width, Air Cooled, Medium Cube Ice Machine - Up to 734 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 734 lb/24 hours at 70°/50° (537 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filters, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 537 | 734 | Medium Cube | Medium Cube: Crystal-clear ice form with broad applications | 22" x 24" x 29" | 22 | 24 | 29 | Air | 5.03 | 17.1 | N/A | 208-230/60/1 | 15 | 2 | 9.7 | R290 | 12750 | 8.5 | 26" x 28" x 35" | 26 | 28 | 35 | 189 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/036C03D0-4443-4FF5-99C3-D1E0E638D8CD | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/E50429DC-3806-42DB-892B-3ECE950FA10E/jpg
MC0722SAX-32 | Modular Cube | MC0722 | 00840315405561 | 840315405561 | MC0722SA-32 | Scotsman MC0722SAX-32 Prodigy ELITE® 22" Width, Air Cooled, Small Cube Ice Machine - Up to 734 lb. | Scotsman MC0722SAX-32 Prodigy ELITE® 22" Width, Air Cooled, Small Cube Ice Machine - Up to 734 lb. (208-230v/60hz/1ph) | Prodigy ELITE® Ice Maker, cube style, air-cooled, self-contained condenser, production capacity up to 734 lb/24 hours at 70°/50° (537 lb AHRI certified at 90°/70°), small cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, front facing removable air filters, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, R290 refrigerant, 208-230v/60/1-ph, cULus, NSF, engineered and assembled in USA | 537 | 734 | Small Cube | Small Cube: Versatile, crystal-clear ice form with optimal displacement | 22" x 24" x 29" | 22 | 24 | 29 | Air | 5.03 | 17.1 | N/A | 208-230/60/1 | 15 | 2 | 9.7 | R290 | 12750 | 8.5 | 26" x 28" x 35" | 26 | 28 | 35 | 189 | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/036C03D0-4443-4FF5-99C3-D1E0E638D8CD | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/E50429DC-3806-42DB-892B-3ECE950FA10E/jpg

## Specification Sheets
Model Number | Sales Literature
| Specification Sheet | Specification Sheet URL (Auto-Updating Link: Will NOT Break)
MC0330MAX-1 | SIS-SS-PE-MC0330_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/BBDDD844-0194-42C0-9EDD-8CF3D892F299
MC0330MAX-32 | SIS-SS-PE-MC0330_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/BBDDD844-0194-42C0-9EDD-8CF3D892F299
MC0330MWX-1 | SIS-SS-PE-MC0330_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/BBDDD844-0194-42C0-9EDD-8CF3D892F299
MC0330SAX-1 | SIS-SS-PE-MC0330_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/BBDDD844-0194-42C0-9EDD-8CF3D892F299
MC0330SWX-1 | SIS-SS-PE-MC0330_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/BBDDD844-0194-42C0-9EDD-8CF3D892F299
MC0530MAX-1 | SIS-SS-PE-MC0530_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25
MC0530MAX-32 | SIS-SS-PE-MC0530_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25
MC0530MWX-1 | SIS-SS-PE-MC0530_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25
MC0530SAX-1 | SIS-SS-PE-MC0530_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25
MC0530SAX-32 | SIS-SS-PE-MC0530_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25
MC0530SWX-1 | SIS-SS-PE-MC0530_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/1602B8B0-4081-4A8B-ABC5-77582A6CAC25
MC0630MAX-1 | SIS-SS-PE-MC0630_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7
MC0630MAX-32 | SIS-SS-PE-MC0630_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7
MC0630MWX-32 | SIS-SS-PE-MC0630_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7
MC0630SAX-1 | SIS-SS-PE-MC0630_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7
MC0630SAX-32 | SIS-SS-PE-MC0630_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7
MC0630SWX-32 | SIS-SS-PE-MC0630_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/E3B6601F-706F-41AE-82F5-7973CBDEA9E7
MC0722MAX-32 | SIS-SS-PE-MC0722_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/036C03D0-4443-4FF5-99C3-D1E0E638D8CD
MC0722SAX-32 | SIS-SS-PE-MC0722_0725.pdf | https://portal.scotsman-ice.com/ResourceCenter/Files/GetFile/036C03D0-4443-4FF5-99C3-D1E0E638D8CD

## Product Copy
Model Number | Features & Benefits | [17 empty] | Certifications | [6 empty] | Warranty Information
| #1 Bullet | #2 Bullet | #3 Bullet | #4 Bullet | #5 Bullet | #6 Bullet | #7 Bullet | #8 Bullet | #9 Bullet | #10 Bullet | #11 Bullet | #12 Bullet | #13 Bullet | #14 Bullet | #15 Bullet | #16 Bullet | #17 Bullet | #18 Bullet | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #1 | #2 | #3 | #4
MC0330MAX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0330MAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0330MWX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available |  | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0330SAX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0330SWX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available |  | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0530MAX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0530MAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0530MWX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available |  | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0530SAX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0530SAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0530SWX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available |  | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0630MAX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0630MAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0630MWX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available |  | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0630SAX-1 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0630SAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filter speeds up cleaning process and reduces unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0630SWX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available |  | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0722MAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filters speed up cleaning process and reduce unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Medium Cube: Crystal-clear ice form with broad applications | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor
MC0722SAX-32 | Integrated ICELINQ® mobile app provides real-time diagnostics, effortless settings adjustments, guided cleanings, and unit-specific information for convenient maintenance | ICELINQ® mobile app makes the cleaning process more efficient and thorough with an interactive, step-by-step guide | Use ICELINQ® mobile app to troubleshoot in real-time while referencing error, cleaning, and settings history to maximize uptime | Upgraded ice thickness and water sensor design enhances cleanability and amplifies durability | Preservation mode maximizes uptime and notifies users of potential issues | Enhanced AutoAlert™ external panel features a bin full indicator light, and displays other relevant machine status for better visibility | Removable, external air filters speed up cleaning process and reduce unit footprint | WaterSense adaptive purge optimizes water consumption, keeping the machine cleaner and operating more efficiently | Small Cube: Versatile, crystal-clear ice form with optimal displacement | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Operational footprint among the industry’s smallest | Bluetooth® wireless technology allows for easy pairing with ICELINQ® mobile app to access machine without removing panels | One-touch cleaning reduces labor costs and saves time | Antimicrobial protection guards internal surfaces between cleanings | Designed, engineered, and assembled in USA | 100% of units are quality checked before leaving Scotsman's ISO 9001:2015 certified plant in Fairfax, South Carolina | Optional XSafe™ Sanitation System (XR-30) helps to improve food safety and machine performance, while reducing cleaning costs | Optional adjustable ice level control accessories available | NSF | AHRI | UL | Designed, Engineered, Assembled in USA | Non-ozone depleting R290 refrigerant | Bluetooth® Enabled Product | DOE Compliant | 3 years parts and labor on all components; 5 years parts and labor on the evaporator; 5 years parts on the compressor and condenser | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor

## Available Images
NOTE: While image file names may reference non-"X" models, they will remain applicable and accurate for the new R290 models.
Model Number | Primary Product Image URL (Auto-Updating Link: Will NOT Break if embedded) | VIEW ALL AVAILABLE IMAGES:
MC0330MAX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0330MA-1&search_type=Images
MC0330MAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0330MA-32&search_type=Images
MC0330MWX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0330MW-1&search_type=Images
MC0330SAX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0330SA-1&search_type=Images
MC0330SWX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0330SW-1&search_type=Images
MC0530MAX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0530MA-1&search_type=Images
MC0530MAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0530MA-32&search_type=Images
MC0530MWX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0530MW-1&search_type=Images
MC0530SAX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0530SA-1&search_type=Images
MC0530SAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0530SA-32&search_type=Images
MC0530SWX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0530SW-1&search_type=Images
MC0630MAX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0630MA&search_type=Images
MC0630MAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0630MA-32&search_type=Images
MC0630MWX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0630MW-1&search_type=Images
MC0630SAX-1 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0630SA&search_type=Images
MC0630SAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/3550DEFC-690B-4518-A6D1-AAABF9353369/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0630SA-32&search_type=Images
MC0630SWX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/DFEBCD83-A72A-478B-9850-93C24BDF3711/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0630SW-1&search_type=Images
MC0722MAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/E50429DC-3806-42DB-892B-3ECE950FA10E/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0722MA-32&search_type=Images
MC0722SAX-32 | https://portal.scotsman-ice.com/ResourceCenter/Files/GetImage/E50429DC-3806-42DB-892B-3ECE950FA10E/jpg | https://portal.scotsman-ice.com/Search?search_query=MC0722SA-32&search_type=Images

## Compatible Accessories
Compatible Accessories | Sanitation Accessories |  | Intelligent Control Accessories |  |  |  |  | Storage Bins | [7 empty] | Hotel Dispensers (if applicable) |  | Water Filter Option #1 |  |  | Water Filter Option #2 |  |  | Prefilter Option
Model Number | XSafe® Sanitation System | AquaBullet® Antimicrobial Wand | Vari-Smart™ Ice Level Control | Basic Ice Level Control | Smart-Board™ | Smart-Board™ (Network Capable) | Advanced Sustainability Kit | Recommended Bin (Primary) | Bin Top Adapter for Recommended Bin (if applicable) | Other Compatible Bin #1 | Bin Top Adapter for Compatible Bin #1 (if applicable) | Other Compatible Bin #2 | Bin Top Adapter for Compatible Bin #2 (if applicable) | Other Compatible Bin #3 | Bin Top Adapter for Compatible Bin #3 (if applicable) | Hotel Dispenser Option #1 | Hotel Dispenser Option #2 | AquaPatrol™ Filter System | AquaPatrol™ Replacement Filter (1 PK) | AquaPatrol™ Replacement Filter (6 PK) | SSM Plus (Chlorine Removal) Filter System | SSM PLUS Replacement Filter (1 PK) | SSM PLUS Replacement Filter (6 PK) | SC Coarse Prefilter | SC Replacement Prefilters
MC0330MAX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B330P |  | B530P |  | B530S |  |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0330MAX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B330P |  | B530P |  | B530S |  |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0330MWX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B330P |  | B530P |  | B530S |  |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0330SAX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B330P |  | B530P |  | B530S |  |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0330SWX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B330P |  | B530P |  | B530S |  |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0530MAX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B330P |  | B842S | KBT29 | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0530MAX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B330P |  | B842S | KBT29 | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0530MWX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B330P |  | B842S | KBT29 | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0530SAX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B330P |  | B842S | KBT29 | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0530SAX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B330P |  | B842S | KBT29 | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0530SWX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B330P |  | B842S | KBT29 | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0630MAX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B842S | KBT29 |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0630MAX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B842S | KBT29 |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0630MWX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B842S | KBT29 |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0630SAX-1 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B842S | KBT29 |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0630SAX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B842S | KBT29 |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0630SWX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B530S |  | B530P |  | B842S | KBT29 |  |  | HD30B-1 | HD30W-1 | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0722MAX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B842S | KBT39 | B530P | KBT27 | B530S | KBT27 | B322S |  | HD22B-1 |  | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40
MC0722SAX-32 | XR-30 | ADS-AB6 | KVS | KBILC | KSBU | KSBU-N | KPAS | B842S | KBT39 | B530P | KBT27 | B530S | KBT27 | B322S |  | HD22B-1 |  | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6 | SC10-A | SC10RC40

## Pricing Values
PRICE SHEET -- Scotsman MC_PH1 R290 Modular Cube + Associated Accessories -- List Prices | [5 empty] | MSRP/MAP Multiplier
*Addendum, see full price list for more details | MSRP: Minimum Suggested Retail Price |  |  |  |  | 0.41
| MAP: Minimum Advertised Price |  |  |  |  | *Rounded down to nearest whole dollar
Model Number | Model Number With Revision Letter | GTIN | UPC | Description | 5/1/25 List Price | 5/1/25 MSRP/MAP Price
ADS-AB6 | ADS-AB6 | 00840315402539 | 840315402539 | AQUABULLET 6 PACK | 1962 | 804
AP1-P | AP1-P | 00840315402546 | 840315402546 | FILTER AP PLUS SINGLE | 639 | 261
APRC1-P | APRC1-P | 00840315402577 | 840315402577 | FILTER AP PLUS RPLCMNT CRTRDG 1PACK | 201 | 82
APRC6-P | APRC6-P | 00840315402584 | 840315402584 | FILTER AP PLUS RPLCMNT CRTRDG 6PACK | 1006 | 412
KBILC | KBILC | 00840315404939 | 840315404939 | KIT BASIC ICE LEVEL CONTROL | 209 | 85
KPAS | KPAS | 00840315403307 | 840315403307 | KIT PROD ADV SUS KVS KSBU-N | 1746 | 715
KSBU | KSBU | 00840315403376 | 840315403376 | KIT PRODIGY SMART BOARD ADVANCED CONTROL | 1188 | 487
KSBU-N | KSBU-N | 00840315403383 | 840315403383 | KIT PRODIGY SMART BOARD NETWORK ADVNCD CNTL | 1541 | 631
KTPS-SM | KTPS-SM | 00840315403444 | 840315403444 | KIT TAMPER PROOF SCREWS 1 30IN CUBER | 302 | 123
KVS | KVS | 00840315403482 | 840315403482 | KIT PRODIGY VARI SMART ICE LEVEL CONTROL | 530 | 217
MC0330MAX-1 | MC0330MAX-1A | 00840315405394 | 840315405394 | MOD CUB AC 300LB 115/60/1 MEDIUM | 8580 | 3517
MC0330MAX-32 | MC0330MAX-32A | 00840315405592 | 840315405592 | MOD CUB AC 300LB 208-230/60/1 MEDIUM | 8705 | 3569
MC0330MWX-1 | MC0330MWX-1A | 00840315405400 | 840315405400 | MOD CUB WC 300LB 115/60/1 MEDIUM | 8730 | 3579
MC0330SAX-1 | MC0330SAX-1A | 00840315405417 | 840315405417 | MOD CUB AC 300LB 115/60/1 SMALL | 8580 | 3517
MC0330SWX-1 | MC0330SWX-1A | 00840315405424 | 840315405424 | MOD CUB WC 300LB 115/60/1 SMALL | 8730 | 3579
MC0530MAX-1 | MC0530MAX-1A | 00840315405479 | 840315405479 | MOD CUB AC 500LB 115/60/1 MEDIUM | 9533 | 3908
MC0530MAX-32 | MC0530MAX-32A | 00840315405479 | 840315405479 | MOD CUB AC 500LB 208-230/60/1 MEDIUM | 9658 | 3959
MC0530MWX-1 | MC0530MWX-1A | 00840315405486 | 840315405486 | MOD CUB WC 500LB 115/60/1 MEDIUM | 9683 | 3970
MC0530SAX-1 | MC0530SAX-1A | 00840315405493 | 840315405493 | MOD CUB AC 500LB 115/60/1 SMALL | 9533 | 3908
MC0530SAX-32 | MC0530SAX-32A | 00840315405493 | 840315405493 | MOD CUB AC 500LB 208-230/60/1 SMALL | 9658 | 3959
MC0530SWX-1 | MC0530SWX-1A | 00840315405509 | 840315405509 | MOD CUB WC 500LB 115/60/1 SMALL | 9683 | 3970
MC0630MAX-1 | MC0630MAX-1A | 00840315405578 | 840315405578 | MOD CUB AC 600LB 115/60/1 MEDIUM | 11617 | 4762
MC0630MAX-32 | MC0630MAX-32A | 00840315405516 | 840315405516 | MOD CUB AC 600LB 208-230/60/1 MEDIUM | 11742 | 4814
MC0630MWX-32 | MC0630MWX-32A | 00840315405523 | 840315405523 | MOD CUB WC 600LB 208-230/60/1 MEDIUM | 11892 | 4875
MC0630SAX-1 | MC0630SAX-1A | 00840315405585 | 840315405585 | MOD CUB AC 600LB 115/60/1 SMALL | 11617 | 4762
MC0630SAX-32 | MC0630SAX-32A | 00840315405530 | 840315405530 | MOD CUB AC 600LB 208-230/60/1 SMALL | 11742 | 4814
MC0630SWX-32 | MC0630SWX-32A | 00840315405547 | 840315405547 | MOD CUB WC 600LB 208-230/60/1 SMALL | 11892 | 4875
MC0722MAX-32 | MC0722MAX-32A | 00840315405554 | 840315405554 | MOD CUB AC 700LB 208-230/60/1 MEDIUM | 11499 | 4714
MC0722SAX-32 | MC0722SAX-32A | 00840315405561 | 840315405561 | MOD CUB AC 700LB 208-230/60/1 SMALL | 11499 | 4714
SC10-A | SC10-A | 00840315403536 | 840315403536 | FILTER 10IN COURSE PRE | 292 | 119
SC10RC40 | SC10RC40 | 00840315403543 | 840315403543 | FILTER 10IN COURSE PRE RPLCMNT CRTRDG 40PACK | 540 | 221
SSM1-P | SSM1-P | 00840315403574 | 840315403574 | FILTER SSM PLUS SINGLE | 849 | 348
SSMRC1 | SSMRC1 | 00840315403604 | 840315403604 | FILTER SSM RPLCMNT CRTRD 1PACK | 280 | 114
SSMRC6 | SSMRC6 | 00840315403611 | 840315403611 | FILTER SSM RPLCMNT CRTRD 6PACK | 1367 | 560
XR-30 | XR-30 | 00840315403628 | 840315403628 | XSAFE UV SANITATION SYSTEM | 1149 | 471