## Literature - Model to File
Model Number | Literature
| Specification Sheet | User Manual | Service Manual
BC0530A-1 | SIS-SS-BC-BC0530_0420.pdf | BC0530 User Manual_0420.pdf | BC0530 Service Manual_0420.pdf

## Images - Model to File
JPG FORMAT
Model Number | Hero Image | Ice Head on Bin Photography |  | Ice Form Images | [5 empty] | Miscellaneous Images
| #1 | #1 | #2 | #1 | #2 | #3 | #4 | #5 | #6 | #1 | #2 | #3
BC0530A-1 | BC0530_Hero Image.jpg | BC0530_on B330P.jpg | BC0530_on B530S.jpg | Big Cube_Isolated.jpg | Big Cube_Isolated_Reflection.jpg | Big Cube_Isolated_Reflection2.jpg | Big Cube_Isolated2.jpg | Big Cube_Multiple.jpg | Big Cube Whiskey Drink.jpg | BC0530_Unique Evaporator Design.jpg | Category Logo_Scotsman Big Cube.jpg | BC0530_on Pallet with Box_Packaging.jpg
PNG FORMAT
Model Number | Hero Image #1: Hero Image; Ice Head on Bin Photography #1: Ice Head on Bin Photography; Ice Form Images #1: Ice Form Images; Miscellaneous Images #1: Miscellaneous Images
| #1 | #1 | #2 | #1 | #2 | #3 | #4 | #5 | #6 | #1 | #2 | #3
BC0530A-1 | BC0530_Hero Image.png | BC0530_on B330P.png | BC0530_on B530S.png | Big Cube_Isolated.png | Big Cube_Isolated_Reflection2.png | Big Cube Whiskey Drink.png |  |  |  | BC0530_Unique Evaporator Design.png | Category Logo_Scotsman Big Cube.png

## Images - File to Model
File Name | File Type | Image Type | Associated Models
BC0530_Hero Image.jpg | JPG File | Hero Image | BC0530A-1
BC0530_on B330P.jpg | JPG File | Environmental Photography | BC0530A-1
BC0530_on B530S.jpg | JPG File | Environmental Photography | BC0530A-1
BC0530_on Pallet with Box_Packaging.jpg | JPG File | Packaging Image | BC0530A-1
BC0530_Unique Evaporator Design.jpg | JPG File | Product Feature Image | BC0530A-1
Big Cube Whiskey Drink.jpg | JPG File | Ice Form Image | BC0530A-1
Big Cube_Isolated.jpg | JPG File | Ice Form Image | BC0530A-1
Big Cube_Isolated_Reflection.jpg | JPG File | Ice Form Image | BC0530A-1
Big Cube_Isolated_Reflection2.jpg | JPG File | Ice Form Image | BC0530A-1
Big Cube_Isolated2.jpg | JPG File | Ice Form Image | BC0530A-1
Big Cube_Multiple.jpg | JPG File | Ice Form Image | BC0530A-1
Category Logo_Scotsman Big Cube.jpg | JPG File | Miscellaneous | BC0530A-1
BC0530_Hero Image.png | PNG File | Hero Image | BC0530A-1
BC0530_on B330P.png | PNG File | Environmental Photography | BC0530A-1
BC0530_on B530S.png | PNG File | Environmental Photography | BC0530A-1
BC0530_Unique Evaporator Design.png | PNG File | Product Feature Image | BC0530A-1
Big Cube Whiskey Drink.png | PNG File | Ice Form Image | BC0530A-1
Big Cube_Isolated.png | PNG File | Ice Form Image | BC0530A-1
Big Cube_Isolated_Reflection2.png | PNG File | Ice Form Image | BC0530A-1
Category Logo_Scotsman Big Cube.png | PNG File | Miscellaneous | BC0530A-1

## A+ Content Cross Reference
Model Type | Unit Configuration | Ice Form | Model | A+ Image File Name (Individual #1) | A+ Image File Name (Individual #2) | A+ Image File Name (Individual #3) | A+ Image File Name (Individual #4) | A+ Image File Name (Individual #5) | USA Emblem Image File
Modular Cube | Air-Cooled | Big Cube | BC0530A-1 | Big Cube_Perfectly Square | Big Cube_QR Code | Big Cube_USA | Big Cube_Warranty | Big Cube_Unique Evaporator Design | USA Logo
NOTE: ALL A+ CONTENT IS AVAILABLE IN JPG AND PNG FORMATS

## Specification Data
Model Type | Unit Configuration | Ice Form | Model | Written Spec | 90°/70° Production (lb) | 70°/50° Production (lb) | Ice Form | Ice Cube Size (W" x D" x H") | Unit Size (W" x D" x H") | Condenser Type | Energy Usage (kWh/100 lb.) | Energy Star Certified? | Potable Water (gal/100 lb) | Condenser Water (gal/100 lb) | Volts/Hz/Phase | Max. Fuse Size | Circuit Wires | Min. Circuit Ampacity | Refrigerant | BTUs Per Hour | Shipping Dimensions (W" x D" x H") | Shipping Weight (lb) | Warranty
Modular Cube | Air-Cooled | Big Cube | BC0530A-1 | Modular Big Cube Ice Maker, big cube style, 1.25" x 1.25" x 1.25" cube size, air-cooled, 30" width, self-contained condenser, production capacity up to 428 lb/24 hours at 70°/50° (383 lb AHRI certified at 90°/70°), horizontal evaporator, unit specific QR code, adjustable bin level probe, stackable up to 3 high, stainless steel finish, 115v/60/1-ph, 19.6 amps, cETLus, NSF, DOE compliant, engineered and assembled in USA | 383 | 428 | Big Cube | 1.25" x 1.25" x 1.25" | 30.7" x 25.8" x 33.7" | Air | 5.92 | No | 14.2 | N/A | 115/60/1 | 25 | 2 | 19.6 | R-404A | 6704 | 36" x 31" x 41" | 235 | 3 years parts and labor on all components; 5 years parts on the evaporator and compressor

## Product Copy
Model Number | Features & Benefits | [7 empty] | Certifications |  |  |  |  | Warranty Information
| #1 Bullet | #2 Bullet | #3 Bullet | #4 Bullet | #5 Bullet | #6 Bullet | #7 Bullet | #8 Bullet | #1 | #2 | #3 | #4 | #5 | #1 | #2 | #3 | #4
BC0530A-1 | Perfectly square, individual big cubes | Big cubes are slow melting, which cools drinks without diluting them | Scotsman's biggest cube - 1¼" x 1¼" x 1¼" dimensions | Produces 108 cubes every harvest cycle - approximately every 30 minutes | Horizontal evaporator minimizes impurities resulting in clearer cubes and reduced scale buildup between cleanings | Unit specific QR code for quick access to service manuals, cleaning guides and warranty history | Heavy duty stainless steel exterior panels for maximum durability and lifespan | Designed, engineered and assembled in the USA | NSF | AHRI | cETLus | Designed, Engineered, Assembled in USA | DOE Compliant | 3 years parts and labor on all components; 5 years parts on the evaporator and compressor | Warranty valid in North, South & Central America for commercial installations | Contact factory for warranty in other regions | Residential Applications: 1 year parts and labor

## Compatible Accessories
|  |  |  | Compatible Accessories | Compatible/Recommended Storage Bins |  |  | Water Filter Option #1 |  |  | Water Filter Option #2
Model Number | Model Type | Unit Configuration | Ice Form | Accesory 1 | Bin 1 | Bin 2 | Bin 3 | AquaPatrol™ Filter System | AquaPatrol™ Replacement Filter (1 PK) | AquaPatrol™ Replacement Filter (6 PK) | SSM Plus (Chlorine Removal) Filter System | SSM PLUS Replacement Filter (1 PK) | SSM PLUS Replacement Filter (6 PK)
BC0530A-1 | Modular Cube | Air-Cooled | Big Cube | KBCSTK30 | B330P | B530P | B530S | AP1-P | APRC1-P | APRC6-P | SSM1-P | SSMRC1 | SSMRC6